# Detailed Project Report: Temperature & Humidity Notification System

## 1. Project Overview

Project Title: IOT PROJECT - Temperature & Humidity Notification System (By Group 7)

Objective: The primary goal of this project is to design and implement a smart environmental monitoring system capable of measuring real-time temperature and humidity. The system is designed to display these values locally and, crucially, send instant notifications or alerts to the user via IoT platforms when predefined environmental thresholds are exceeded.

Target Application: The system serves as a foundational component for smart home and industrial environmental monitoring, enhancing comfort, safety, and allowing for immediate action to mitigate risks.

## 2. System Architecture and Requirements

The system follows a standard IoT architecture utilizing a microcontroller to collect, process, and transmit data to a cloud platform, while also providing local feedback.

### Hardware Components

| Component | Function | Key Specifications |
| --- | --- | --- |
| Microcontroller (ESP8266/ESP32) | Data processing, Wi-Fi connectivity, IoT communication, and control logic. | Low-cost, powerful, built-in Wi-Fi and Bluetooth (ESP32). |
| Temperature Sensor (DHT11) | Measures ambient environmental conditions. | Temperature range: $0-50^\circ C$. Humidity range: $20-90\%$. Provides digital output. |
| LCD Display (16*2) | Provides local, real-time visualization of readings. | I2C interface (requires only 2 pins for communication). |
| Auxiliary | Jumper Wires, Breadboard | Interconnection and prototyping platform. |

### Software and Development Environment

- Integrated Development Environment (IDE): Arduino IDE

- Libraries: ESP8266/ESP32 Board Libraries (for connectivity and control), DHT11 sensor library, LCD library.

- Monitoring: Serial Monitor / IoT Dashboard (for remote visualization and alert management).

## 3. Working Principle and Data Flow

### Block Diagram

The system operates based on a clear sequence of data acquisition and transmission:

- DHT11 Sensor: Continuously acquires analog temperature and humidity data from the environment.

- ESP Microcontroller: Reads the sensor's digital output, processes the raw data, and applies logic (e.g., checks against predefined thresholds).

- Display: The processed values are output to the 16*2 LCD for immediate local monitoring.

- IoT Platform: The data is sent via Wi-Fi to a chosen IoT cloud platform (e.g., Blynk, ThingSpeak) for remote monitoring.

- Alerts: The IoT platform handles the rule engine, sending instant notifications to the user's mobile application when the established temperature or humidity thresholds are breached.

### Simulation Status

A hardware simulation/prototype was successfully implemented and shows the system functioning, displaying readings such as: Temp: $25.80^\circ C$ and Hum: $49.00\%$.

## 4. Conclusion and Future Scope

### Conclusion

The project successfully demonstrated a practical application of IoT technology for real-time environmental monitoring. The system effectively integrates the DHT11 sensor and ESP microcontroller with a wireless communication protocol to deliver data remotely. The use of immediate notifications is a key feature that allows users to take preventive and corrective action, thereby enhancing safety and reducing potential risks in monitored environments. It provides a solid foundation for more complex smart systems.

### Future Scope Recommendations

The project has excellent potential for expansion into a more advanced and automated system. Recommended future enhancements include:

- Expanded Coverage: Integrating multiple sensors to monitor larger spaces or several distinct rooms simultaneously.

- Automation Control: Adding actuators (e.g., relays) to enable the ESP to automatically control external devices like fans, air conditioners, or humidifiers based on the real-time readings.

- Advanced Data Analytics: Implementing cloud-based data storage and analysis for historical data visualization, trend prediction, and capacity planning.

- AI-Based Anomaly Detection: Integrating machine learning or simple AI-based logic to detect unexpected or abnormal environmental changes, leading to smarter and more proactive alerting.